## enviornment
Info | TEST LAB SERVER | TEST SERVER | DEV SERVER | MARK SERVER
FMSURL | http://10.10.20.152:83 | http://10.10.10.125:83 | http://10.10.20.208:83 | http://10.10.10.125:83
GATEWAY | 99020000000026e2 | 990200000000269f | 99020000000026e5 | 990200000000269f
DEVICE TYPE | GasMeter1 | GasMeter1 | GasMeter1 | GasMeter1
APP BUNDLE YL | APL-LMT-YL01-1.0.16-STB | APL-LMT-YL01-1.0.16-STB | APL-LMT-YL01-1.0.16-STB | APL-LMT-YL01-1.0.16-STB
APP BUNDLE MC | APL-LMT-MC01-1.0.16-STB | APL-LMT-MC01-1.0.16-STB | APL-LMT-MC01-1.0.16-STB | APL-LMT-MC01-1.0.16-STB
USER | freestyle | freestyle | freestyle | freestyle
PASSWORD | freestyle | freestyle | freestyle | freestyle
SESSION ID | 98e1f231eb6b45b6fe9a0345d6160f67 | c775cf20a052fce804617cbea5266ab3 | 8858f181bf5e98779ed0723b02e232ab | 08dc5024a7d527efc68990b3a078d0b4
APP_UPDATE | APL-LMT-YL01-1.0.15-STB | APL-LMT-YL01-1.0.15-STB | APL-LMT-YL01-1.0.15-STB | APL-LMT-YL01-1.0.15-STB
AS_SERVER_URL | https://10.10.20.152:8080 | https://10.10.20.125:8080 | https://10.10.20.208:8080 | https://10.10.10.125:8080

## appserver
AS_DEV_EUI | AS_APP_EUI | AS_APP_KEY | AS_NODE_NAME | AS_URL
000f161202999999 | 8000000000000001 | 2b7e151628aed2a6abf7158809cf4f3c | MC NIC

## devices
YL EID | MC EID
7ff9011202099999 | 8001
8002
8003
8004
8005
8006
8007
8008
8009
8010
8011

## yl_command
COMMAND | PARAMETER
GET_METER_TYPE
GET_METER_SUMMATION_DELIVERED
GET_METER_CURRENT_PRESSURE
SET_METER_GAS_VALVE_STATE | valve_state=1
GET_METER_GAS_VALVE_STATE
SET_METER_GAS_VALVE_STATE | valve_state=0
GET_METER_GAS_VALVE_STATE
SET_SUMMATION_REPORT_INTERVAL | report_interval_mins=6
GET_SUMMATION_REPORT_INTERVAL
SET_SUMMATION_REPORT_INTERVAL | report_interval_mins=1440
GET_SUMMATION_REPORT_INTERVAL
SET_PRESSURE_REPORT_INTERVAL | report_interval_mins=6
GET_PRESSURE_REPORT_INTERVAL
SET_PRESSURE_REPORT_INTERVAL | report_interval_mins=1440
SET_PRESSURE_REPORT_INTERVAL
GET_METER_VERSION
SET_OFLOW_DETECT_ENABLE | overflow_detect_enable=0
GET_OFLOW_DETECT_ENABLE
SET_OFLOW_DETECT_ENABLE | overflow_detect_enable=1
GET_OFLOW_DETECT_ENABLE
SET_OFLOW_DETECT_DURATION | overflow_detect_duration=5
GET_OFLOW_DETECT_DURATION
SET_OFLOW_DETECT_DURATION | overflow_detect_duration=999
GET_OFLOW_DETECT_DURATION
SET_OFLOW_DETECT_RATE | overflow_detect_duration=13
GET_OFLOW_DETECT_RATE
SET_OFLOW_DETECT_RATE | overflow_detect_duration=40
GET_OFLOW_DETECT_RATE
SET_PRESSURE_ALARM_LEVEL_LOW | pressure_alarm_level_low=0
GET_PRESSURE_ALARM_LEVEL_LOW
SET_PRESSURE_ALARM_LEVEL_LOW | pressure_alarm_level_low=5
GET_PRESSURE_ALARM_LEVEL_LOW
SET_PRESSURE_ALARM_LEVEL_HIGH | pressure_alarm_level_high=0
GET_PRESSURE_ALARM_LEVEL_HIGH
SET_PRESSURE_ALARM_LEVEL_HIGH | pressure_alarm_level_high=5
GET_PRESSURE_ALARM_LEVEL_HIGH
SET_LEAK_DETECT_RANGE | leak_detect_range=0
GET_LEAK_DETECT_RANGE
SET_LEAK_DETECT_RANGE | leak_detect_range=9
GET_LEAK_DETECT_RANGE
SET_MANUAL_RECOVER_ENABLE | manual_recover_enable=0
GET_MANUAL_RECOVER_ENABLE
SET_MANUAL_RECOVER_ENABLE | manual_recover_enable=9
GET_MANUAL_RECOVER_ENABLE
GET_METER_FIRMWARE_VERSION
GET_METER_SHUTOFF_CODES
SET_METER_SERIAL_NUMBER | meter_serial_number=testchar01
GET_METER_SERIAL_NUMBER
SET_METER_SERIAL_NUMBER | meter_serial_number=testchar99
GET_METER_SERIAL_NUMBER
GET_ELECTRIC_QNT_VALUE
SET_COMMS_MODE | meter_comms_mode=0
GET_COMMS_MODE
SET_COMMS_MODE | meter_comms_mode=1
GET_COMMS_MODE
SET_PILOT_LIGHT_MODE | pilot_light_mode=0,pilot_flow_min=9,pilot_flow_max=50
GET_PILOT_LIGHT_MODE
SET_PILOT_LIGHT_MODE | pilot_light_mode=1,pilot_flow_min=13,pilot_flow_max=53
GET_PILOT_LIGHT_MODE
SET_EARTHQUAKE_SENSOR_STATE | earthquake_sensor_state=0
GET_EARTHQUAKE_SENSOR_STATE
SET_EARTHQUAKE_SENSOR_STATE | earthquake_sensor_state=0
GET_EARTHQUAKE_SENSOR_STATE

## yl_command_test
COMMAND | PARAMETER
GET_PRESSURE_ALARM_LEVEL_HIGH
SET_PRESSURE_ALARM_LEVEL_HIGH | pressure_alarm_level_high=5

## Sheet1
MC DEV EUI | MC EID | YL DEV EUI | YL EID
000f161202000038 | 7ff9011202000038 | 000f161202000012 | 7ff9011202000012 | 000f161202000039
000f161202000039 | 7ff9011202000039 | 000f161202000013 | 7ff9011202000013 | 000f161202000040
000f161202000040 | 7ff9011202000040 | 000f161202000014 | 7ff9011202000014 | 000f161202000042
000f161202000042 | 7ff9011202000042 | 000f161202000016 | 7ff9011202000016 | 000f161202000043
000f161202000043 | 7ff9011202000043 | 000f161202000017 | 7ff9011202000017 | 000f161202000045
000f161202000045 | 7ff9011202000045 | 000f161202000021 | 7ff9011202000021 | 000f161202000049
000f161202000049 | 7ff9011202000049 | 000f161202000022 | 7ff9011202000022 | 000f161202000050
000f161202000050 | 7ff9011202000050 | 000f161202000024 | 7ff9011202000024 | 000f161202000053
000f161202000053 | 7ff9011202000053 | 000f161202000025 | 7ff9011202000025 | 000f161202000055
000f161202000055 | 7ff9011202000055 | 000f161202000026 | 7ff9011202000026 | 000f161202000056
000f161202000056 | 7ff9011202000056 | 000f161202000027 | 7ff9011202000027 | 000f161202000057
000f161202000057 | 7ff9011202000057 | 000f161202000028 | 7ff9011202000028 | 000f161202000058
000f161202000058 | 7ff9011202000058 | 000f161202000030 | 7ff9011202000030 | 000f161202000059
000f161202000059 | 7ff9011202000059 | 000f161202000031 | 7ff9011202000031 | 000f161202000060
000f161202000060 | 7ff9011202000060 | 000f161202000032 | 7ff9011202000032 | 000f161202000061
000f161202000061 | 7ff9011202000061 | 000f161202000036 | 7ff9011202000036 | 000f161202000064
000f161202000064 | 7ff9011202000064 | 000f161202000037 | 7ff9011202000037 | 000f161202000067
000f161202000067 | 7ff9011202000067 | 000f161202000081 | 7ff9011202000081 | 000f161202000069
000f161202000069 | 7ff9011202000069 | 000f161202000082 | 7ff9011202000082 | 000f161202000073
000f161202000073 | 7ff9011202000073 | 000f161202000083 | 7ff9011202000083 | 000f161202000074
000f161202000074 | 7ff9011202000074 | 000f161202000084 | 7ff9011202000084 | 000f161202000077
000f161202000077 | 7ff9011202000077 | 000f161202000085 | 7ff9011202000085 | 000f161202000121
000f161202000121 | 7ff9011202000121 | 000f161202000086 | 7ff9011202000086 | 000f161202000123
000f161202000123 | 7ff9011202000123 | 000f161202000087 | 7ff9011202000087 | 000f161202000126
000f161202000126 | 7ff9011202000126 | 000f161202000088 | 7ff9011202000088 | 000f161202000129
000f161202000129 | 7ff9011202000129 | 000f161202000090 | 7ff9011202000090 | 000f161202000131
000f161202000131 | 7ff9011202000131 | 000f161202000092 | 7ff9011202000092 | 000f161202000132
000f161202000132 | 7ff9011202000132 | 000f161202000095 | 7ff9011202000095 | 000f161202000134
000f161202000134 | 7ff9011202000134 | 000f161202000097 | 7ff9011202000097 | 000f161202000136
000f161202000136 | 7ff9011202000136 | 000f161202000098 | 7ff9011202000098 | 000f161202000137
000f161202000137 | 7ff9011202000137 | 000f161202000100 | 7ff9011202000100 | 000f161202000138
000f161202000138 | 7ff9011202000138 | 000f161202000102 | 7ff9011202000102 | 000f161202000139
000f161202000139 | 7ff9011202000139 | 000f161202000103 | 7ff9011202000103 | 000f161202000141
000f161202000141 | 7ff9011202000141 | 000f161202000104 | 7ff9011202000104 | 000f161202000146
000f161202000146 | 7ff9011202000146 | 000f161202000106 | 7ff9011202000106 | 000f161202000147
000f161202000147 | 7ff9011202000147 | 000f161202000107 | 7ff9011202000107 | 000f161202000151
000f161202000151 | 7ff9011202000151 | 000f161202000108 | 7ff9011202000108 | 000f161202000156
000f161202000156 | 7ff9011202000156 | 000f161202000112 | 7ff9011202000112 | 000f161202000138
000f161202000138 | 7ff9011202000138 | 000f161202000113 | 7ff9011202000113 | 000f161202000126
000f161202000126 | 7ff9011202000126 | 000f161202000116 | 7ff9011202000116
|  | 000f161202000117 | 7ff9011202000117
|  | 000f161202000118 | 7ff9011202000118
|  | 000f161202000153 | 7ff9011202000153
|  | 000f161202000161 | 7ff9011202000161
|  | 000f161202000162 | 7ff9011202000162
|  | 000f161202000163 | 7ff9011202000163
|  | 000f161202000164 | 7ff9011202000164
|  | 000f161202000165 | 7ff9011202000165
|  | 000f161202000166 | 7ff9011202000166
|  | 000f161202000167 | 7ff9011202000167